EK-1

(Mülga:RG-1/4/2010-27539)

EK-2

| Yüksek Basınçlı Sodyum | Bütün çeşitleri ve sınıfları. |
| --- | --- |
| Metal Halojenur | Bütün çeşitleri ve sınıfları. |
| Endiksiyon Aydınlatmalı | Bütün çeşitleri ve sınıfları. |
| Boru Şeklinde Fleurosan | 26 mm çapında (T8) lambalar, 16 mm çapında (T5) ve 11 W üzerinde sınıflandırılmış yüksek verimli kumanda dişlisine sahip lambalar ve (T12) lineer 2400 mm uzunluğunda fleurosan lambalar. |
| Kompakt Fleurosan | 11W üzerindeki bütün sınıfları ve enerji verimliliği 50 lümen/devreWatt’tan büyük olan bütün çeşit ve sınıfları. |
| Diğer | Lambanın enerji verimliliği 50 lümen/devreWatt ‘tan büyük olan bütün çeşit ve sınıfları. |

Genel Aydınlatma İçin Uygun Aydınlatma Kaynakları

EK-3

(Değişik:RG-1/4/2010-27539)

EK- 3 Binalar İçin Düzenlenecek Olan Enerji Kimlik Belgesi

(Mülga:RG-1/4/2010-27539) EK- 4a

(Mülga:RG-1/4/2010-27539) EK- 4b

(Mülga:RG-1/4/2010-27539) EK- 5a

(Mülga:RG-1/4/2010-27539) EK- 5b

(Mülga:RG-1/4/2010-27539) EK- 6

(Mülga:RG-1/4/2010-27539) EK- 7

EK- 8a

BEP ile ilgili Türk Standardları Listesi

| TS 825 | Binalarda Isı Yalıtım | 2008 |
| --- | --- | --- |
| TS EN ISO 10211-1 | Bina İnşaatlarında Isıl Köprüler - Isı Akışları ve Yüzey Sıcaklıkları - Bölüm 1: Genel Hesaplama Metotları | 2000 |
| TS EN ISO 10211-2 | Bina Yapımında Isıl Köprüler- Isı Akışlarının ve Yüzey Sıcaklıklarının Hesaplanması- Bölüm 2: Doğrusal Isıl Köprüler | 2001 |
| TS EN ISO 14683 | Bina İnşaatı-Isıl Köprüler-Lineer Isıl Geçirgenlik-Basitleştirilmiş Metot ve Hatasız Değerler | 2000 |
| TS EN ISO 6946 | Yapı bileşenleri ve yapı elemanları - Isıl direnç ve ısıl geçirgenlik hesaplama metodu | 2007 |
| TS EN 12207 | Pencereler ve kapılar - Hava geçirgenliği - Sınıflandırma | 2004 |
| TS EN 13829 | Binaların Isıl Performansı- Binaların Hava Geçirgenliğinin Tayini- Fan Basıncı Altında Tutma Deneyi | 2001 |
| TS 2164 | Kalorifer Tesisatı Projelendirme Kuralları | 1983 |
| TS 11389 EN 13384-1 | Bacalar – Isı ve akışkan dinamiği hesaplama metotları – Bölüm 1: Tek ısıtma tertibatına bağlı bacalar | 2006 |
| TS 11388 EN 13384-2 | Bacalar – Isı ve akışkan dinamiği hesaplama metotları – Bölüm 2: Birden çok ısıtma tertibatına bağlı bacalar | 2006 |
| TS 2192 | Kalorifer Tesisatı Yerleştirme Kuralları | 1976 |
| TS EN 378-1 | Soğutma sistemleri ve ısı pompaları - Güvenlik ve çevre kuralları - Bölüm 1: Temel kurallar, tarifler, sınıflandırma ve seçim kriterleri | 2007 |
| TS EN 378-2 | Soğutma sistemleri ve ısı pompaları - Güvenlik ve çevre kuralları- Bölüm 2: Tasarım, yapım, deney, işaretleme ve dokümantasyon | 2004 |
| TS EN 378-3 | Soğutma Sistemleri ve Isı Pompaları - Güvenlik ve Çevre Kuralları- Bölüm 3: Tesis Yeri ve Personel Koruma | 2002 |
| TS EN 378-4 | Soğutma Sistemleri ve Isı Pompaları- Güvenlik ve Çevre Kuralları- Bölüm 4: İşletme, Bakım, Onarım ve Geri Kazanım | 2001 |
| TS 3419 | Havalandırma Ve İklimlendirme Tesisleri - Projelendirme Kuralları | 2002 |
| TS 5895 | Merkezi Klima (İklimlendirme) ve Havalandırma Tesislerinin İşletme ve Bakım Kuralları | 1998 |
| TS 3420 | Havalandırma ve İklimlendirme Tesislerini Yerleştirme Kuralları | 1979 |
| TS EN 1507 | Havalandırma-Binalarda-Kanal Şebekesi-Dikdörtgen Enkesitli Sac Metal Hava Kanalları-Dayanım ve Sızdırmazlık-Özellik ve Deneyler | 2006 |
| TS EN 12237 | Binalarda havalandırma – Kanal şebekesi – Dairesel sac metal kanallar – Dayanım ve sızdırmazlık | 2006 |
| TS EN 14336 | Isıtma sistemleri - Binalar için - Su esaslı ısıtma sistemlerinin tesisi ve işletmeye alınması | 2007 |
| TS EN 26 | Ani Su Isıtıcılar (Şofbenler)-Gaz Yakan, Atmosferik Brülörlü | 2006 |
| TS EN 89 | Isıtıcılar – Gaz yakan – Ev tipi – Sıcak su üretimi için depolu su ısıtıcılar | 2008 |
| TS EN 12975-1 | Isıl güneş enerji sistemleri ve bileşenleri-Güneş enerjisi kolektörleri-Bölüm 1:Genel Kurallar | 2008 |
| TS 3817 | Güneş Enerjisi - Su Isıtma Sistemlerinin Yapım Tesis ve İşletme Kuralları | 1994 |
| TS EN 215 | Radyatör vanaları – termostatik –Özellikler ve deney metotları | 2007 |
| TS EN 832 | Binaların Isıl Performansı – Meskenlerde Isıtma Amacıyla Kullanılan Enerjinin Hesaplanması | 2007 |
| TS EN 834 | Isı Maliyet Bölüştürücüleri - Radyatör Isı Tüketiminin Belirlenmesinde Kullanılan - Elektrik Enerjisi İle Çalışan | 1997 |
| TS 4041 | Kazanlar- Anma Isı Gücü Ve Verim Deneyleri Esasları | 1983 |
| TS ISO 9459-1 | Güneş Enerjisiyle Isıtma-Konut Su Isıtma Sistemleri-Bölüm 1:İç Ortam Deney Metotları Kullanılarak Performans Değerlendirme İşlemi | 1999 |
| TS ISO 9459-2 | Güneş Enerjisi Konut Su Isıtma Sistemleri Bölüm 2: Sadece Güneş Enerjili Sistemlerin Yıllık Performans Tahmini Ve Sistem Performans Karekteristikleri İçin Dış Ortam Deney Metodu | 2000 |
| TS ISO 9459-3 | Güneş Enerjisiyle Isıtma Konut Su Isıtma Sistemleri Bölüm 3 : Güneş Ve İlâve Isıtıcılı Sistemlerin Performans Deneyi | 1999 |

(Değişik:RG-1/4/2010-27539)

EK- 8b

EK- 8b. BEP ile ilgili Avrupa Standardları Listesi

| EN 12170 | Heating systems in buildings - Procedure for the preparation of documents for operation, maintenance and use - Heating systems requiring a trained operator | 2002 |
| --- | --- | --- |
| EN 12171 | Heating systems in buildings - Procedure for the preparation of documents for operation, maintenance and use - Heating systems not requiring a trained operator | 2002 |
| EN 12828 | Heating systems in buildings - Design for water-based heating systems | 2003 |
| EN 12831 | Heating systems in buildings - Method for calculation of the design heat load | 2003 |
| EN 14336 | Heating Systems in buildings - Installation and commissioning of the water based heating systems | 2004 |
| EN 15240 | Ventilation for Buildings - Energy performance of buildings : Guidelines for the inspection of air-conditioning systems. | 2007 |
| EN 15243 | Ventilation for Buildings - Calculation of room temperatures and of load and energy for buildings with room conditioning systems | 2007 |
| EN 15316-1 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 1: General | 2007 |
| EN 15316-2-1 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies : Part 2.1: Space heating emission systems | 2007 |
| EN 15316-2-3 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 2-3: Space heating distribution systems | 2007 |
| EN 15316-3-1 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 3: Domestic hot water systems | 2007 |
| EN 15316-3-2 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 3-2: Domestic hot water systems, distribution | 2007 |
| EN 15316-3-3 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 3-3: Domestic hot water systems, generation | 2007 |
| EN 15316-4-3 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 4-3: Heat generation systems, thermal solar systems | 2007 |
| EN 15316-4-4 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 4-4: Heat generation systems, building-integrated cogeneration systems | 2007 |
| EN 15316-4-5 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 4-5: Space heating generation systems, the performance and quality of district heating and large volume systems | 2007 |
| EN 15316-4-6 | Heating systems in buildings - Method for calculation of system energy requirements and system efficiencies - Part 4-6: Heat generation systems, photovoltaic systems |  |
| EN 15377-3 | Design of embedded water based surface heating and cooling systems | 2007 |
| EN 15378 | Energy performance of buildings: Inspection of boilers and heating systems |  |
| EN 15217 | Energy performance of buildings - Methods of expressing energy performance and for energy certification of buildings | 2007 |
| EN 12464-1 | Light and lighting - Lighting of work places - Part 1: Indoor work places | 2002 |
| EN 12464-2 | Light and lighting - Lighting of work places - Part 2: outdoor work places | 2007 |
| EN 12665 | Light and lighting - Basic terms and criteria for specifying lighting requirements | 2002 |
| EN 13032-1 | Light and lighting - Measurement and presentation of photometric data of lamps and luminaires - Part 1 : Measurement and file format | 2004 |
| EN 13032-1/AC:2005 | Light and lighting - Measurement and presentation of photometric data of lamps and luminaires - Part 1 : Measurement and file format | 2005 |
| EN 13032-2 | Light and lighting - Measurement and presentation of photometric data of lamps and lumlinaires - Part 2 : Presentation of data for indoor and outdoor work places | 2005 |
| EN 13032-2/AC:2007 | Light and Lighting - Measurement and presentation of photometric data of lamps and luminaires- Part 2 : Presentation of data for indor and outdoor work places | 2007 |
| EN 15193 | Energy performance of buildings - Energy requirements for lighting | 2007 |
| EN 12097 | Ventilation for buildings - Ductwork - Requirements for ductwork components to facilitate maintenance of ductwork systems | 2006 |
| EN 12220 | Ventilation for buildings - Ductwork - Dimensions of circular flanges for general ventilation | 1998 |
| EN 12236 | Ventilation for buildings - Ductwork hangers and supports - Requirements for strength | 2002 |
| EN 12237 | Ventilation for buildings - Ductwork - Strength and leakage of circular sheet metal ducts | 2003 |
| EN 12238 | Ventilation for buildings - Air terminal devices - Aerodynamic testing and rating for mixed flow application | 2001 |
| EN 12239 | Ventilation for buildings - Air terminal devices - Aerodynamic testing and rating for displacement flow applications | 2001 |
| EN 12589 | Ventilation for buildings - Air terminal units - Aerodynamic testing and rating of constant and variable rate terminal units | 2001 |
| EN 12599 | Ventilation for buildings - Test procedures and measuring methods for handing over installed ventilation and air conditioning systems | 2000 |
| EN 12792 | Ventilation for buildings. Symbols, terminology and graphical symbols | 2003 |
| EN 13030 | Ventilation for buildings - Terminals - Performance testing of louvres subjected to simulated rain | 2001 |
| EN 13053 | Ventilation for buildings - Air handling units - Ratings and performance for units, components and sections | 2006 |
| EN 13141-1 | Ventilation for buildings - Performance testing of components/ products for residential ventilation - Part 1. Externally and internally mounted air transfer devices | 2004 |
| EN 13141-2 | Ventilation for buildings - Performance testing of components/products for residential ventilation - Part 2. Exhaust and supply air terminal devices | 2004 |
| EN 13141-3 | Ventilation for buildings - Performance testing of components/products for residential ventilation - Part 3. Range hoods for residential use | 2004 |
| EN 13141-4 | Ventilation for buildings – Performance testing of components/products for residential ventilation - Part 4. Fans used in residential ventilation systems | 2004 |
| EN 13141-5 | Ventilation for buildings - Performance testing of components/products for residential ventilation - Part 5. Cowls and roof outlet terminal devices | 2004 |
| EN 13141-6 | Ventilation for buildings - Performance testing of components/products for residential ventilation - Part 6. Exhaust ventilation system packages used in a single dwelling | 2004 |
| EN 13141-7 | Performance testing of components/products for residential ventilation - Part 7: Performance testing of a mechanical supply and exhaust ventilation units (including heat recovery) for mechanical ventilation systems intended for single family dwellings | 2004 |
| EN 13141-8 | Ventilation for buildings - Performance testing of components/products for residential ventilation - Part 8: Performance testing of un-ducted mechanical supply and exhaust ventilation units for mechanical ventilation systems | 2006 |
| EN 13142 | Ventilation for buildings – Components / products for residential ventilation – Required and optional performances characteristics | 2004 |
| EN 13180 | ventilation for buildings - Ductwork - Dimensions and mechanical requirements for flexible ducts. | 2001 |
| EN 13181 | Ventilation for buildings - Terminals - Performance testing of louvres subject to simulated sand | 2001 |
| EN 13182 | Ventilation for buildings - Instrumentation requirements for air velocity measurements in ventilated spaces | 2002 |
| EN 13264 | Ventilation for buildings - Terminals - Floor mounted air terminal devices - Tests for structural classification | 2001 |
| EN 13403 | Ventilation for buildings. Non metallic ducts. Ductwork made from insulation ductboards | 2003 |
| EN 13465 | Ventilation for buildings - Calculation methods for the determination of air flow rates in dwellings | 2004 |
| EN 13829 | Thermal performance of buildings - Determination of air permeability of buildings - Fan pressurization method (ISO 9972:1996, modified) | 2001 |
| EN 14134 | Ventilation for buildings - Performance testing and installation checks of residential ventilation systems | 2004 |
| EN 14239 | Ventilation for buildings - Ductwork - Measurement of ductwork surface area | 2004 |
| EN 14240 | Ventilation for buildings - Chilled ceilings - Testing and rating | 2004 |
| EN 14277 | Ventilation for buildings - Air terminal devices - Method for airflow measurement by calibrated sensors in or close to ATD/Plenum boxes | 2006 |
| EN 14518 | Ventilation for buildings - Chilled beams - Testing and rating of passive chilled beams | 2005 |
| EN 1505 | Ventilation for buildings - Sheet metal air ducts and fiffings with rectangular cross section - Dimensions | 1997 |
| EN 1506 | Ventilation for buildings - Sheet metal air ducts and fittings with circular cross-section - Dimensions | 1997 |
| EN 1507 | Ventilation for buildings - Sheet metal air ducts with rectangular section - Requirements for strength and leakage | 2006 |
| EN 15239 | Ventilation for buildings - Energy performance of buildings - Guidelines for inspection of ventilation systems | 2007 |
| EN 15242 | Ventilation for buildings - Calculation methods for the determination of air flow rates in buildings including infiltration | 2007 |
| EN 15251 | Indoor environmental input parameters for design and assessment of energy performance of buildings addressing indoor air quality, thermal environment, lighting and acoustics | 2007 |
| EN 1751 | Ventilation for buildings - Air terminal devices - Aerodynamic testing of dampers and valves | 1998 |
| EN 1886 | Ventilation for buildings - Air handling units - Mechanical performance | 1998 |
| EN 24185 | Measurement of liquid flow in closed conduits - Weighing method |  |
| EN 779 | Particulate air filters for general ventilation - Determination of the filtration performance |  |
| EN ISO 5167-1 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full - Part 1: General principles and requirements |  |
| EN 15232 | Energy performance of buildings - Impact of Building Automation, Controls and Building Management | 2007 |
| EN 15255 | Thermal performance of buildings - Sensible room cooling load calculation - General criteria and validation procedures | 2007 |
| EN ISO 13791 | Thermal performance of buildings - Calculation of internal temperatures of a room in summer without mechanical cooling - General criteria and validation procedures | 2004 |
| EN ISO 13792 | Thermal performance of buildings - Calculation of internal temperatures of a room in summer without mechanical cooling - Simplified methods |  |